# Purpose

- To establish and maintain the leadership responsibilities and authority necessary to ensure Top Management at Techno-Aide is committed to supporting the requirements of the Quality Management System (QMS) and applying the requirements of ISO 9001/ISO 13485/ FDA 21 CFR 820 where necessary.

- This procedure applies to Techno-Aide ’s stated commitments and aspirations to performance, integrity and reliability of products and services.

Responsibilities

- The CEO has primary responsibility and is the approval authority for this procedure.

- Top Management is responsible to demonstrate leadership and commitment with respect to the QMS.

- Top Management is responsible to ensure that Techno-Aide ’s QMS conforms to the requirements of ISO 9001/ ISO 13485 and FDA 21 CFR 820, as well as other stated standards or regulations within their scope, and is established, implemented, and maintained in a planned and systematic manner.

Definitions

| Term | Definition |
| --- | --- |
| Top Management | Person or group of people who directs and controls an organization at the highest level. |
| Management Representative | Member of Management responsible for the Quality Management System and its processes at each location |
| Manager of Quality Assurance | Person that oversees all quality assurance functions and reports directly to Top Management |

Equipment or Software

- Microsoft Office Suite is used for communication

  - Documents are shared and collaborated via Teams software

  - Emails, Calendars, etc. use outlook

- Sharepoint is used for the control and distribution of the QMS

  - Sharepoint folders are controlled

  - Sharepoint can be used to collaborate amongst team members

Process

- Top Management ensures that the QMS is established, implemented, communicated, and maintained in a planned and systematic manner.

  - This is accomplished with the appointment of a Management Representative as the project manager and a Quality Team

  - Responsibilities for the Management Representative and the Quality Team are detailed in relevant paragraphs below.

- Top Management demonstrates leadership and commitment to the QMS by:

  - Taking accountability for the effectiveness of the QMS

  - Ensuring that the quality policy and quality objectives are established and are compatible with the context of and strategic direction of the company, and that those objectives are communicated to relevant employees

  - Ensuring the integration of the QMS requirements into the company’s business processes

  - Promoting awareness of the process approach and risk-based thinking

  - Ensuring that the resources needed for the QMS are available

  - Communicating the importance of effective quality management and of conforming to the QMS requirements

  - Ensuring that the QMS achieves its intended results and reviewing them for adequacy

  - Engaging, directing, and supporting persons to contribute to the effectiveness of the QMS

  - Promoting improvement in all areas of the company

  - Supporting other relevant management roles to demonstrate their leadership as it applies to their areas of responsibility

  - Establishment of the Quality Policy

  - Conducting the required management reviews

Customer focus

- Top Management demonstrates leadership and commitment to customer focus by ensuring that:

  - Customer and applicable statutory and regulatory requirements are determined, understood, and consistently met

  - The risks and opportunities that can impact conformity of products and services and the ability to enhance customer satisfaction are determined and addressed

  - The focus on enhancing customer satisfaction is maintained

  - Product and service conformity and on-time delivery performance are measured.

  - Action is taken if planned results are not or will not be achieved

Quality policy

- In support of Top Management, the Quality Team establishes, implements, and maintains the quality policy that:

  - Is appropriate and applicable to the purpose and context of the Techno-Aide and supports its strategic direction

  - Provides a framework for setting relevant quality objectives

  - Includes a commitment to satisfy applicable statutory, regulatory and customer requirements.

  - Includes a commitment to continual improvement of the QMS

  - Is reviewed for continuing suitability

  - Includes a commitment to comply with requirements and to maintain the effectiveness of the quality management framework.

- The Quality policy is assigned control number and is approved by Top Management.

- The Quality policy states Techno-Aide ’s commitments to provide customers and consumers’ quality products and reliable services.

- Based on the stated commitments and aspirations Techno-Aide develops a formalized QMS to assure that the quality of the products manufactured, and services provided to external customers meet and/or exceed their expectations in a responsible businesslike manner.

Techno-Aide is committed to:

  - Providing safe, effective products that meet or exceed customer expectations & requirements.

  - Using defined techniques and behaviors to continually reduce variation in processes and products

  - Complying with all applicable statutory and regulatory requirements

  - Focusing on processes that ultimately result in the highest quality product at the lowest cost

  - Empowering all valued team members to be responsible and accountable for superior workmanship

  - Rapid response, providing our customers with the fastest concept-to-realization time in the industry

  - Fostering a continual quality improvement environment, in all areas of the business.

- Techno-Aide reviews the Quality Policy, the main Quality Objectives, and the Strategic Direction of Techno-Aide to verify it remains relevant.

- Techno-Aide posts the Quality Policy throughout Techno-Aide. General orientation training explains and discusses the Quality Policy meaning to new employees.

- Techno-Aide communicates and makes available the Quality Policy to customers, consumers, providers, suppliers, and other relevant interested parties.

- The Top Management may decide to change the Quality Policy During Management Review, only when Techno-Aide attains the goals and aspirations expressed or they are no longer relevant or sufficient.

Organizational roles, responsibilities, authorities, and Communication

- Top Management ensures that the responsibilities and authorities for relevant roles are assigned, communicated, and understood by:

  - Ensuring that the QMS meets the requirements of ISO 9001/ ISO 13485 and any customer required standards

  - Ensuring that the intended outputs of processes are delivered

  - Reporting on the performance of the QMS and on opportunities for improvement

  - Ensuring the promotion of customer focus within the company

  - Ensuring that the integrity of the QMS is maintained when changes to it are planned and implemented

  - Posting of Techno-Aide Chart depicting chain of command

- Top Management appoints a member of the management team as the management representative, who has the responsibility and authority for oversight of the requirements in this procedure.

  - The management representative reports to the Management Representative and has the organizational freedom and unrestricted access to Top Management to resolve quality management issues.

  - The responsibility of the Management Representative includes:

    - Liaison with external parties on matters relating to the quality management system a

    - Reporting to Top Management.

    - Ensuring that processes needed for the QMS are established, implemented, and maintained

    - Reporting to Management Representative on the performance of the QMS and any need for improvement

    - Ensuring the promotion of awareness of customer requirements throughout the Group

    - Organizational freedom and unrestricted access to top management to resolve quality management issues

- In support of the Top management, the management Representative communicates the roles and authorities with Techno-Aide chart, where the functional departments and positions are identified.

- At Techno-Aide, the responsibility for the QMS is supported by functional departments under the direction of the Management Representative:

  - QMS program & administration through trained employees acting as on-site Quality Assurance to support the Management Representative

  - Personnel, training, employee relations, communications

  - Operations

  - Sales, marketing, customer relations

  - Materials management, purchasing

- In support of Top Management, the planning procedure and Operational planning and control are established to further demonstrate leadership and commitment.

- Top Management reviews leadership, commitment, customer focus, the quality policy, and roles, responsibilities and authorities on a periodic basis as defined in the procedure P-930-01 at management review meetings.

Opportunities and Risks

- The planning procedure for Planning for the Quality Management System addresses opportunities and risks (risk-based thinking).

- Techno-Aide makes use of organizational knowledge, lessons learned and experience with the Leadership activities to determine opportunities and risks that need to be addressed and which can:

  - Give assurance that the procedure can achieve its intended result(s)

  - Enhance desirable effects and prevent or reduce undesired effects

  - Achieve improvement

Documents related to the process

| Procedures | Governing Documents |
| --- | --- |
| - Planning for the Quality Management System - Operational Planning and Control - Management Review | - ISO 9001 - ISO 13485 |
| Forms | Work Instructions |

Control of Revision Table

| Revision | Changes | Created by | Approved by | Date of approval |
| --- | --- | --- | --- | --- |
| Draft | New document | Brian Olea (OAQC) |  |  |