# Purpose

- This Procedure describes the process for Requirements for Equipment maintenance activities

Responsibilities

- Quality management is responsible to make sure all equipment is up to date and calibrated

- Upper management is responsible for keeping paperwork stored

Equipment or Software

- M2M

Process

- The organization shall document procedures for the validation of the application of computer software used for the monitoring and measurement of requirements. Such software applications shall be validated prior to initial use and, as appropriate, after changes to such software or its application. The specific approach and activities associated with software validation and revalidation shall be proportionate to the risk associated with the use of the software, including the effect on the ability of the product to conform to specifications.

- The organization shall document procedures to ensure that monitoring and measurement can be carried out and are carried out in a manner that is consistent with the monitoring and measurement requirements

- As necessary to ensure valid results, measuring equipment shall:

  - a)	be calibrated or verified, or both, at specified intervals, or prior to use, against measurement standards traceable to international or national measurement

    - standards: when no such standards exist, the basis used for calibration or verification shall be recorded (see 4.2.5);

  - b)	be adjusted or re-adjusted as necessary: such adjustments or re-adjustments shall be recorded

  - c)	have identification in order to determine its calibration status;

  - d)	be safeguarded from adjustments that would invalidate the measurement result;

  - e)	be protected from damage and deterioration during handling, maintenance and storage

Control of Revision Table

| Revision | Changes | Created by | Approved by | Date of approval |
| --- | --- | --- | --- | --- |
| Draft | New document | Brian Olea (OAQC) |  |  |