# Purpose

- This procedure describes the process for controlling quality system documents.

Responsibilities

- Management is responsible to ensure that personnel have access to and are aware of relevant quality management system (QMS) documentation and changes.

- Management is responsible for assigning authors for documents.

- The author is responsible for writing the document, creating related forms, getting a document number and submitting the document to the department manager for review.

- Department managers / supervisors are responsible for approving documents for their area of responsibility and ensuring that they are legible, identifiable, and available where needed.

- The quality manager is responsible for assigning document numbers, maintaining the master list, posting new and revised documents on the network, distributing hard copies (when applicable) of documents, and revising documents.

- All employees are responsible for reviewing the documents as they use them and submitting document change requests to update documents as necessary.

- Dot Compliance is responsible for backing up the network daily.

- The VP of operations is responsible for maintaining programs that control equipment.

- Management is responsible to establish and maintain a file for each type or model of medical device relevant to Techno-Aide.

Definitions

| Term | Definition |
| --- | --- |
| Procedure | Document outlining specific work processes and how the requirements of the ISO 13485:2016 standard and QSR (21 CFR 820) standards are being met. |
| Work Instructions | Step by step directions on how a task should be done. |
| Attachments | Documents used to further clarify or show examples of information described in the procedures and work instructions. |
| Forms | Documents used to make a record of completing all or part of the process described in procedures and work instructions. |
| Records | Completed forms or information generated as a result of the process described in a document and retained as indicated in the Control of Quality Records Procedure. |
| References | external documents or sources used in preparing documentation and completing work. |
| Related Documents | Other documents that may need to be altered if the current document is revised or changed. |
| Templates | Electronic documents used to create quality system documentation. |
| Software Inventory Spreadsheet | List of software being used, indicating current revisions and locations. |

Equipment or Software

- Dot Compliance (electronic document control system).

Process

- Document Creation

  - To create a document, management will assign an author for the document. Any employee may be assigned as an author for documents in their area of expertise.

  - Authors assigned from the following departments prepare, issue, and maintain QMS documentation and the related forms as required:

    - Operations: Design Engineering, Production, Warehousing, and Inventory Control.

    - Sales: Marketing, Sales and Customer Service

    - Accounting and Finance: Human Resources, Accounting and Purchasing

    - Quality Assurance: Quality Assurance and Quality Control, Inspection and Document and Data Control

  - Documents include:

    - The Quality Manual

    - Procedures

    - Work Instructions

    - Attachments

    - Forms

    - References

    - Templates

- Review and Approval prior to issue

  - The author submits the documents to the department manager / supervisor for review and approval; they electronically approve the document with date and time added to the database.

- Document Identification and Distribution

  - All documents contain the following information:

    - Company name

    - Title

    - Document Number

    - Current Revision and Date

- Document Numbering

  - Procedures, work instructions, forms, etc., are identified using the following scheme:

    - Prefix represents the type of document.

      - PRO 	= Procedure

      - WOR 	= Work Instruction

      - FOR	= Form

      - Etc.

  - Followed by specific number. This could be in relation to the ISO 13485 standard or a sequential number provided by Dot Compliance.

  - Authors obtain the document number from Dot Compliance database.

  - Authors or other responsible persons obtain customer or regulatory agency approvals as required by contract or regulatory requirements.

  - Approved documents are submitted to the quality manager and entered on the Master Document List. Approved documents containing original signatures are the “Master” copies and are kept in the Master Document file.

  - The quality manager posts new and revised documents on the network and may distribute hard copies to points of use according to the Master List.

  - Hard copies are controlled by listing the distribution of the document on the master list to indicate they are controlled. Forms may be printed on white paper and loss or deterioration of documents is prevented.

  - The document templates for the manual, procedures and work instructions include an auto print date. Electronic copies of the Manual, the Procedures, and Work Instructions that are printed for use are controlled by this print date. Printed copies are only valid for 24 hours from the print date unless stamped “controlled copy” in red ink. Copies of these controlled documents are not authorized.

- Document revisions

  - Documents are reviewed during regular use and during internal audits. Documents are updated as found necessary during these reviews.

  - Documents are revised to update or clarify information using Dot Compliance suite.

  - Revisions to procedures and the description of changes are indicated in the table in the revisions section at the end of the procedure. For example, the letter A in the table and at the end of the procedure number represents the initial issue for procedure P-424.

    - Revisions to documents go through the preceding document approval, identification and distribution steps. Document changes are approved by an individual in the same function that performed the original review or by another designated function with access to pertinent background information.

    - The approved document is signed by the approver indicating approval.

    - For QSR 820.40 the changes to documents are immediately communicated via Dot Compliance.

- Obsolete Document Disposition

  - Any obsolete copies are maintained in the Dot Compliance suite. Documents used to manufacture or test medical devices will be maintained for at least the lifetime of the device, and not less that retention of related records, or as specified by regulatory requirements

  - The archive copy is maintained in the Dot Compliance suite.

- Electronic Backup

  - Company QMS documentation is stored on the cloud based system maintained by Dot Compliance. An electronic backup is made daily by Dot Compliance. Electronic records are controlled with procedure P-425 for control of quality records.

- Control of data

  - All programs used for control of operation equipment, calculations or analysis are controlled. They are listed on the software spreadsheet with revision date and location of the program.

  - VP of operations / engineers maintain programs controlling equipment in a protected file. Operators use read-only copies of the programs.

  - Records of external origin are controlled by the user of the documents, for example:

    - International standards, statutory and regulatory documents are the responsibility of the Management representative,

    - Customer documents are controlled as required by the Customer related processes and procedure P-720.

  - For each type or model of medical device, VP of operations / engineers establish and maintain a file containing or referencing documents generated to demonstrate conformance to ISO 13485:2016 and (21 CFR 820.181) requirements, compliance with the applicable regulatory requirements and conformity with design and development requirements.

  - The documents define the complete manufacturing process including, as applicable, requirements for installation and servicing. As identified with procedures P-710 for planning of product realization processes and P-730 for design and development, the medical device files include as required information such as:

    - The general description of the medical device intended use or purpose, and labelling, including any instructions for use,

    - Design and development specifications for the product, and records of changes,

    - Procedures or specifications for manufacturing, packaging, storage, handling and distribution.

    - Measuring and monitoring procedures.

Control of Revision Table

| Revision | Changes | Created by | Approved by | Date of approval |
| --- | --- | --- | --- | --- |
| Draft | New document | Brian Olea (OAQC) |  |  |