# Purpose

  - This procedure establishes Operational Planning and Control responsibilities and the standard configuration management for The Organization.

# Responsibilities

- The Management Representative and Top Management are responsible for this procedure.

- Top Management and the Management Representative of The Organization are responsible for compliance to this procedure.

# Definitions

| Term | Definition |
| --- | --- |
| Organization | The Organization name is The Organization |
| Top Management | The senior management of The Organization (President, Controller,r, VP of Operations, etc.) |
| baseline: | A baseline is a configuration identification formally designated and applicable at a specific point in an item’s life cycle. Baselines, plus approved changes from those baselines, constitute the current configuration identification. |
| configuration: | interrelated functional and physical characteristics of a product defined in product configuration information |
| configuration baseline (baseline): | (1) An agreed-to description of the attributes of a product, at a point in time, which serves as a basis for defining change. (2) An approved and released document, or a set of documents, each of a specific revision; the purpose of which is to provide a defined basis for managing change. (3) The currently approved and released configuration documentation. (4) A released set of files comprising a software version and associated configuration documentation. |
| configuration item (CI): | any hardware, software, or combination of both that satisfies an end use function and is designated for separate configuration management |
| configuration management (CM): | a management process for establishing and maintaining consistency of a product’s performance, functional, and physical attributes with its requirements, design, and operational information throughout its life |
| configuration status accounting (CSA): | the configuration management activity concerning capture and storage of, and access to, configuration information needed to manage products and product information effectively |
| drawing: | an engineering document or digital data file that discloses the physical and functional requirements of an item (directly by means of graphic and textual presentations, or by reference) |
| life cycle: | a generic term covering all phases of acquisition, operation, and logistics support of an item, beginning with concept definition, and continuing through disposal of the item |
| master data list (MDL): | common name for any tool (typically a matrix or spreadsheet) that defines all the lower-level configuration items of a final product, and the revision level of each. |
| nonconformance: | the failure of a unit or product to meet a specified requirement |
| product configuration information: | requirements for product design, realization, verification, operation, and support |
| traceability: | The evidence of an association between configuration items |
| fit: | the ability of an item to physically interface or interconnect with or become an integral part of another item |
| form: | the shape, size, dimensions, mass, weight, and other physical parameters that uniquely characterize an item. For software, form denotes the language and media. |
| function: | the action or actions that an item is designed to perform |
| item | a nonspecific term used to denote any product, including systems, materiel, parts, subassemblies, sets, accessories, etc. |
| configuration documentation: | technical documentation, the primary purpose of which is to identify and define a product’s performance, functional, and physical attributes (e.g., specifications, drawings) |

# Equipment or Software

- Made2Manage ERP

# Process

- Operational Planning and Control

- The Organization has defined processes for planning product realization. The planning includes, as appropriate:

- Quality objectives and requirements for the product, including consideration of aspects such as:

  - Personal and product safety

  - Producibility and inspectability

  - Reliability, availability, and maintainability

  - Suitability of parts and materials used in the product

  - Selection and development of embedded software

  - Product obsolescence

  - Prevention, detection, and removal of foreign objects

  - Handling, packaging, and preservation

  - Recycle or final disposal of the product at the end of its life

- The need to establish criteria for the:

  - Acceptance of products and services

  - Determination of the resources needed to achieve conformity to requirements and for on-time delivery

  - Implementing control of the processes in accordance with the criteria specified in ISO 13485 and internal documentation.

  - Required verification, validation, monitoring, measurement, inspection, and test activities specific to the product and the criteria for product acceptance.

  - Records needed to provide evidence that the realization processes and resulting product meet requirements.

  - Configuration management appropriate to the product.

  - Resources to support the continued use of the product.

- Configuration Management

- The Organization establishes, implements, and maintains a configuration management process that includes, as appropriate to the process:

  - QMS Configuration management

  - Configuration identification

  - Change control

- The Organization ensures proper storage, maintenance, and protection of data, and that data is identified, controlled, and made available to those persons who require it.

- The Organization has controlled procedures for approving, documenting, and controlling changes to data.

- Process for Configuration Management in The Organization

  - Configuration Management” is the control of parts or processes which may consist of a complex set of subassemblies or components, each of which may have its own revision status, which – when combined and completed – take a final form (as a combined assembly) which may have its own unique revision status.

  - Controlling the revisions and status of each component, as well as that of the finished assembly, is therefore critical to ensure the final form meets requirements.

- For customer supplied parts, Techno-Aide makes no changes to the customer’s configuration or configuration drawings whatsoever and will utilize customer provided prints or documentation to ensure ongoing maintenance of the configuration, as applicable.

  - If processing of a customer provided part requires disassembly of the final part into subordinate assemblies, this shall be done after instruction by the customer, and/or in accordance with customer provided documentation, to ensure that re-assembly results in the same final configuration.

- For all other parts, Techno-Aide maintains the assembly revision status as provided for in the provided design documentation, drawings and/or data.

- Techno-Aide makes no changes to these configurations or revision levels. Where assemblies are temporarily disassembled for processing by Techno-Aide or its subcontractors, suitable labeling is performed to ensure proper re-assembly in accordance with the design documentation.

- Due to the nature of the company’s operations, configuration status accounting and configuration audits are not performed.

- Control of Work Transfers

- The Organization establishes, implements, and maintains a process to plan and control the temporary or permanent transfer of work (e.g., from one organization facility to another, from The Organization to a supplier, from one supplier to another supplier) and to verify that the work conforms to requirements.

- Customer – Related Processes

- Determination of Requirements Related to the Product The Organization determines:

  - Requirements specified by the customer including requirements for delivery and warranty provisions

  - Requirements not stated by the customer, but necessary for specified or intended use where known.

  - Statutory and regulatory requirements applicable to the product

  - Any additional requirements considered necessary by The Organization

- The determination of product requirements is accomplished as follows:

  - Customer requirements including delivery and warranty

  - Export restrictions and requirements

Review of Requirements Related to the Product

- The Organization reviews the product requirements prior to The Organization's commitment to supply the product to the customer. The review includes:

- Resolution of any changes in contract or order requirements

- Special or unique requirements of the product

- Confirmation that product requirements are defined

- The Organization can meet the defined requirements

- Risks have been identified

  - Records of the results of any review, and actions arising from the review, are maintained.

  - If the customer provides no documented statement of requirement, or if a formal review is impractical, the customer requirements are confirmed by The Organization before acceptance.

  - If product requirements are changed, The Organization ensures that relevant documents are amended and that relevant personnel are made aware of the changed requirements.

Customer Communication

- The Organization determines and implements effective arrangements for communicating with customers in relation to

- Product information

- Enquiries, contracts, or order handling including amendments

- Customer feedback including customer complaints

Purchasing

- The Organization ensures that the purchased product conforms to specified purchase requirements. The Organization is responsible for the conformity of products that they purchase from suppliers, including products purchased from sources defined by the customer.

- Suppliers are controlled. The type and extent of control applied is according to the type of product procured.

- Suppliers are evaluated, qualified, and approved before they are used. Records of the results of evaluations and any necessary actions arising from the evaluation are maintained.

Purchasing Information

- The Organization ensures that purchase orders effectively communicate essential supplier requirements. The adequacy of the requirements is reviewed prior to their communication to the supplier. The requirements include contractual arrangements, terms, and conditions. The contractual requirements vary according to type of product procured.

- The purchasing activity of The Organization ensures the adequacy of specified purchase requirements prior to their communication to the supplier.

- Verification of Purchased Product

- The Organization establishes and implements the inspection or other activities necessary to ensure that the purchased product meets specified purchase requirements. Purchased items that are not intended for customer use are exempt from this requirement. Verification activities can include:

  - Obtaining objective evidence of the conformity

  - Documentation, certificate of conformity

  - Inspection and audit at the supplier’s premises

  - Review of the required documentation

  - Inspection of products upon receipt at The Organization

Supplier Control Requirements

- Suppliers are controlled. The type and extent of control applied is according to the type of product procured and level of Risk.

- The Organization:

  - Maintains a register of its suppliers that includes approval status and scope

  - Periodically reviews supplier performance, the results used as a basis for establishing the level of controls to be implemented

  - Defines the necessary actions to take when dealing with suppliers that do not meet requirements

  - When required by the customer, ensures that both The Organization and the suppliers use customer-approved special process sources

  - Defines the process, responsibilities, and authority for the approval decision, changes of the approval status, and/or changes in approved supplier scope

  - Determines and manages the risk when selecting and using suppliers

  - Safeguards against the purchase of counterfeit or suspect unapproved products

  - The Organization is responsible for the conformity of products that they purchase from suppliers, including products purchased from sources defined by the customer.

Production and Service Provision

- The Organization plans and carries out production and service provision under controlled conditions as required. Controlled conditions include, as applicable:

  - Availability of information that describes the characteristics of the product

  - Availability of work instructions, as necessary

  - Use of suitable equipment

  - Availability and use of monitoring and measuring equipment

  - Implementation of monitoring and measurement

  - Implementation of product release, delivery, and post-delivery activities

  - Accountability for all product during production (e.g., lot quantities, split orders, nonconforming product)

  - Evidence that all production and inspection/verification operations have been completed as planned or as otherwise documented and authorized

  - Provision for the prevention, detection, and removal of foreign objects

  - Criteria for workmanship specified in the clearest practical way (e.g., written standards, representative samples, illustrations)

Production Process Verification

- The Organization uses a representative item from the first production run of a new part or assembly to verify that the production processes, production documentation, and tooling are capable of producing parts and assemblies that meet requirements. The process is repeated when changes occur that invalidate the original results (e.g., engineering changes, manufacturing process changes, tooling changes).

Control of Production Process Changes

- The Organization controls and documents changes affecting processes, production equipment, tools, or software programs. The results of changes to production processes are assessed to confirm that the desired effect has been achieved without adverse effects to product conformity. Personnel authorized to approve changes to production processes are identified.

Control of Production Equipment, Tools and Software Programs

- Production equipment, tools, and software programs used to automate and control/monitor product realization processes are validated prior to release for production and are maintained. Storage requirements, including periodic preservation/condition checks, are defined for production equipment or tooling in storage.

Post Delivery Support

- The Organization provides the necessary support for Post Delivery when identified by customers or contract obligations.

Validation of Processes for Production and Service Provision

- The Organization validates any processes if the resulting output cannot be verified by subsequent inspection, monitoring, or measurement and as a consequence, deficiencies become apparent only after the product is in use. The processes are often referred to as special processes. Validation ensures the ability of the processes to achieve planned results.

- The Organization establishes arrangements for these processes including, as applicable:

  - Defined criteria for review and approval of the processes

  - Approval of equipment and qualification of personnel

  - Use of specific methods and procedures

  - Requirements for Control of Documented Information

  - Revalidation

    - Where special processes are required to produce a product, the process accept and reject criteria are specified as described in Control of Externally Provided Processes, Products, and Services.

Identification and traceability

- The Organization ensures product identification and traceability from receipt, during lot splitting, storage, packaging, and preservation until final delivery to the customer.

- Traceability requirements include:

  - Identification maintained throughout the product life

  - The ability to trace all products manufactured from the same batch of raw material or from the same manufacturing batch to the ultimate destination (e.g., customer, scrap)

  - For an assembly, the ability to trace its components to the assembly and then to the next higher assembly

  - For a product, a sequential, retrievable record of its production (manufacture, assembly, inspection/verification)

    - The Organization establishes appropriate controls for acceptance authority media (e.g., stamps, electronic signatures, passwords).

Customer Property

- The Organization Does not handle or use Customer Property. This has been excluded from the Quality Management System.

Preservation of Product

- The Organization preserves its products during internal processing, storage, and delivery to the intended destination to maintain conformity to requirements. Preservation of product includes provisions as necessary for:

  - Cleaning

  - Prevention, detection, and removal of foreign objects

  - Special handling for sensitive products

  - Marking and labeling including safety warnings

  - Shelf-life control and stock rotation

  - Special handling for hazardous materials

  - Environmental controls (temperature, humidity)

    - Parts shall be shipped in appropriate packaging in a manner to preclude damage to parts. As specified by the customer.

Control of Monitoring and Measuring Equipment

- The Organization determines the monitoring and measuring equipment needed to provide evidence of conformity of product to requirements. The Organization has a plan and procedure for calibration and verification of the equipment. The plan includes frequency of checks, check method, and acceptance criteria,

- The Organization establishes, implements, and maintains a process for the recall of equipment requiring calibration or verification. The Organization assesses and records the validity of the previous measuring results when the equipment is found to not conform to requirements and takes appropriate action on any affected product.

- Records of the results of calibration and verification are maintained as documented information

- The Organization ensures that environmental conditions are suitable for the calibration, inspection, measurement, and testing that are performed.

Control of Revision Table

| Revision | Changes | Created by | Approved by | Date of approval |
| --- | --- | --- | --- | --- |
| Draft | New document | Brian Olea (OAQC) |  |  |