# Purpose

- This procedure is the Corporate level document that is in place when site level processes are not approved by a regulatory authority or directed by customer requirement. This procedure shall be followed when no other approved process is in place and is the default for all sites

- The purpose of this procedure is to establish the process for configuration management at The Organization.

- The procedure also addresses the product safety operational controls.

- The procedure also addresses the operational controls for the prevention of counterfeit parts.

Responsibilities

- The VP of Operations has the prime responsibility and approval authority for this procedure.

- Additional responsibilities for the Purchasing Manager, Shipping Supervisor, and the Production Manager are detailed in relevant paragraphs below.

Definitions

- None

Equipment or Software

- Made2Manage ERP

Process

- In support of the planning procedure P-810-01 for Operational planning and control, this procedure addresses operational controls associated with configuration management, product safety, and prevention of counterfeit parts.

- Configuration management.

- The VP of Operations plans, implements, and controls for configuration management for the products and services to ensure the identification and control of physical and functional attributes throughout the product lifecycle.

  - Refer to released design data for configuration attributes each product or service.

  - Production Manager ensures production build configuration is managed through Job issuance using approved release product definition in accordance with demand

  - Shipping Supervisor ensures material issuance is managed through ERP allocation at part number and issue level in accordance with job definition

  - Build configuration is tracked against released job tracker document and validated through QA

- Product safety.

- The Quality Team plans, implements, and controls the processes needed to assure product safety during the entire product life cycle and considers:

  - Assessment of hazards and management of risks.

  - Management of safety critical items.

  - Analysis and reporting of nonconforming events affecting safety.

  - Communication of these safety events and training of persons.

- Product safety information is identified and summarized in the the worksheet and the product Class I or II designated.

  - As a prerequisite to product safety, it is important to understand the classes of change and the implications of these changes.

  - Class I changes are changed that affect the fit, form or function of an item. These are changes that affect the specifications, weight, interchangeability, interfacing, reliability, safety, schedule, cost, etc. of an item.

  - Class II changes are changes to correct documentation or changes to hardware not otherwise defined as a Class I change.

- Other interrelated requirements.

  - Key characteristics and critical items as identified with R&D.

- Statutory and regulatory requirements.

  - Statutory and regulatory requirements as required are determined and summarized in the worksheet.

- Prevention of counterfeit parts.

  - The Quality Team plans, implements, and controls the processes needed for the prevention of counterfeit or suspect counterfeit part use and their inclusion in product for customers.

  - Counterfeit part prevention considers one or more process for:

    - Training of persons in the awareness and prevention of counterfeit parts.

    - Application of a parts obsolescence monitoring program.

    - Controls for acquiring externally provided product from approved sources, original manufacturers, authorized distributors, and monitoring of counterfeit parts reporting from external sources.

    - Requirements for assuring traceability of parts and components to their original authorized manufacturers.

    - Verification and test methodologies to detect counterfeit parts.

    - Quarantine and reporting of suspect or detected counterfeit parts.

- The procedure P-811-01 for Operational risk management addresses the risks associated with the operational processes required for the provision of products and services.

- The Organization makes use of your organizational knowledge, lessons learned and experience with the activities associated with Operational configuration management to determine opportunities and risks that need to be addressed and which can:

  - Give assurance that the procedure can achieve its intended result(s).

  - Enhance desirable effects and prevent or reduce undesired effects.

  - Achieve improvement.

Control of Revision Table

| Revision | Changes | Created by | Approved by | Date of approval |
| --- | --- | --- | --- | --- |
| Draft | New document | Brian Olea (OAQC) |  |  |