# Purpose

- This procedure describes the process of monitoring and measuring of product and product realization processes.

Responsibilities

- The Production Manager and Quality Manager are responsible for identifying the appropriate measuring and monitoring of product and product realization processes according to the Planning of Product Realization Processes.

Definitions

| Term | Definition |
| --- | --- |
| Product Realization Processes | Operations, activities and processes (from customer input through delivery and service) that lead to the creation of the final product or service. |
| Production Coordination | The group of individuals that may be involved with Purchase Orders prior to production initiation. |
| Contract Review | The process of reviewing Purchase Orders to verify adherence to the requirements of the customer and updating the information for inspection and production of the product. |

Equipment or Software

- Made 2 Manage

Process

- Monitoring and Measuring of Processes

- Purchase orders may be reviewed by the production coordination prior to production initiation. The Production Manager controls the process that identifies the operation needed to complete contract requirements. Quoting reviews when using previous jobs as a template, and remove any prior information that does not pertain to the current job, Contract Review is initiated allowing a secondary check of items passed on that will be verified, and as the job is created another review of information to be placed on the traveler takes place.

- Quality Assurance performs production process verification to verify that the process is capable of producing parts and assemblies that meet the requirements.

  - In the event of process nonconformity

- Purchasing Manager maintains the vendor registry and tracks the ability of our vendors to meet the requirements agreed to.

  - Vendor on time delivery (did our order arrive as agreed)

  - Product verification (did they send the right item)

  - Risk

- Customer report cards,

- Quality, On Time Delivery, Cost

- Monitoring and Measuring of Product

  - Product in-process inspections and final inspections are performed at defined stages of the production process to assure products meet contract requirements. Product Key Characteristics, when controlled and specified by drawings and test specifications, are verified as part of this process.

  - Deliverable products are inspected in compliance with the customer purchase order, and inspection requirements, prior to submitting for Customer acceptance. Products may be released to Customer prior to Final Inspection when specifically requested and is confirmed by a customer email.

  - In support of process verification, Quality Assurance prepares first article and inspection procedures and, when required, may document test specifications, methods, test equipment requirements, and setup.

    - Product sampling Inspection is used under controlled conditions including:

    - Statistically valid sample plans

    - Appropriate for use

    - Plans are matched to the criticality of the product and the capability of the process

    - Zero Defect Sampling Plan

- All documentation to accompany the product is available as required

- Inspection Documentation:

  - Requirements for product inspection and acceptance as specified on customer purchase orders, standards, and prints are contained on the Job Traveler and in the inspection plan, and contain acceptance/rejection criteria.

  - Product inspection data is recorded and is filed with applicable product Job Orders.

  - Records indicate the person authorizing the release of product for delivery.

  - Products may not be delivered to a Customer prior to completion of the          Final Inspection unless approved by a relevant authority and by the customer, in writing (email), if applicable.

  - Monitoring and measuring for each product realization process is documented on the Job Traveler and Inspection report.

Control of Revision Table

| Revision | Changes | Created by | Approved by | Date of approval |
| --- | --- | --- | --- | --- |
| Draft | New document | Brian Olea (OAQC) |  |  |