## Slide 1: Organizational Context
ISO 9001: CONTEXT OF THE ORGANIZATION
ISO 13485: Quality management system
PART 4

## Slide 2: AGENDA
ISO 9001
  4.1 Understanding the organization and its context
  4.2 Understanding the needs and expectations of interested parties
  4.3 Determining the scope of the quality management system
  4.4 Quality management system and its processes
ISO 13485
  4.1 General requirements
  4.2 Documentation requirements
  4.2.2 Quality manual

## Slide 3
NEW QMS\4 Context of the Organization\Procedures\P-400-01 A - Organizational Context.docx

## Slide 4: PROCEDURES
P-400-01 Organizational Context
P-530-01 Software Validation

## Slide 6: PURPOSE AND RESPONSIBILITIES OF P-400
PURPOSE
  TO ENSURE THE ORGASNIZATIONAL CONTEXT
  MANAGE NEEDS AND EXPECTATIONS
  IDENTIFY INTERESTED PARTIES
RESPONSIBILITIES
  TOP MANAGEMENT MAINTANS OWNERSHIP OF THE PROCEDURE
  TOP MANAGEMENT FLOOWS THE INFORMATION TO THE STAKE HOLDERS
Notes: IN ORDER TO ENSURE THER ORGANIZATIONAL CONTEXT top management identifies interested parties interested parties are those stakeholders that are affected by the company's quality management system. enter
in order to identify interested parties top management looks at the inputs and outputs regulatory requirements specific customer requirements employee needs top management needs and overall expectations.
Top management is then responsible to make sure the procedure is correct it is able to explain the necessary data to those interested parties and is updated regularly to reflect changes in the organizational context
next page whoops

## Slide 8: What is organizational context
Issues can include positive and negative factors or conditions for consideration.
Understanding the external context can be facilitated by considering issues arising from legal, technological, competitive, market, cultural, social and economic environments, whether international, national, regional or local.
Understanding the internal context can be facilitated by considering issues related to values, culture, knowledge and performance of the organization.
To understand the organization and its context organizations determine the internal and external issues that are relevant and affect their ability to achieve their intended outcome for their QMS.
The external and internal issues include production and service conditions capable of affecting or being affected by the organization.
Relevant internal issues may also include business and QMS conditions related to the area as a leadership customer focus engagement of people, the process approach, improvement, evidence-based decision making and relationship management.
External issues can include those of cultural, social, political, legal, regulatory, financial, and other outside sources that could impact the QMS
Notes: The organizational context is that who we are and what we do of an organization this includes how we determine the scope of your quality system who is important to that quality system and how it affects those who are customers or regulators it also determines the overall processes and interactions of your quality systems within that we also determine that the understanding of needs and expectations for interested parties interested parties used to be determined by stakeholders stakeholders were those that were directly influenced or had a direct influence on a companies quality system or business management system.

## Slide 10: IDENTIFY INTERESTED PARTIES
5. To completely understand the needs and expectations of interested parties, The Organization identifies the interested parties that are relevant to the QMS.
6. The interested parties are identified, and their expectations and needs (requirements) are determined along with which of their requirements become regulatory requirements.
7. Interested parties concerned with or affected by the quality performance of The Organization that have been identified are:
Customers, suppliers, Top Management, and employees. See Figure 1 (attached) for details on the selected interested party’s needs, expectations, and monitoring processes.
Landlords, Utilities, Statutory and Regulatory Authorities,
8. In support of top management, the Quality Management Team is continually on alert for information regarding relevant interested parties and how they can impact the QMS.
8.1.During the development and implementation phases of the QMS, the identification of relevant interested parties and their requirements are followed up at the regular (bi-weekly) Quality Team meetings as well as during Management Review and Internal Audits.
8.2.Notes or minutes of these meetings provide the evidence that the needs of interested parties are addressed.
8.3. As required to document, follow up and update the identified relevant internal and external issues, the Management Representative makes use of the MRM template.

## Slide 12: MANAGE NEEDS AND EXPECTATIONS
6. The interested parties are identified, and their expectations and needs (requirements) are determined along with which of their requirements become regulatory requirements.
10. As related to this procedure, the QMS combines the relevant external and internal factors and conditions to complete an activity loop from leadership through continual improvement to show compliance with the ISO standards and Regulatory requirements.
13. The scope is available and maintained as documented information stating the products and services covered by the QMS. The scope of the QMS is as follows:
•The Requirements of ISO 9001 / ISO13485 and any requirements of statutory or regulatory bodies with consideration of Interested parties needs and expectations.
15. To establish, implement, maintain, and improve the QMS, The Organization determines the processes needed and their interaction and application throughout The Organization.
16. This process approach provides for the management of the quality system and its processes through the application of a “Plan-Do-Check-Act” continual improvement methodology, and a focus on “Risk-Based-Thinking” that lead to the prevention of undesirable outcomes.
17. In support of Top Management, the planning procedures, planning for the Quality management system and, Operational planning and control are established to further detail the processes.
18. In support of Top Management, the procedure for Management review is used to evaluate the performance of the QMS
19. The customer and applicable statutory and regulatory quality system requirements relevant to the QMS are addressed
20. The customer requirements are addressed with the procedure for customer related processes.
21. In support of top management, the Management Representative is continually on alert for information regarding relevant statutory and regulatory requirements.
21.1. During the development and implementation phases of the QMS, the identification of relevant requirements is followed up at the regularly scheduled Quality Team meetings.
21.2. Notes or minutes of Quality Team meetings provide the evidence that the requirements are addressed.
21.3. As required to document, follow up and update the identified requirements, the Management Representative makes use of the relevant sections of the MRM template

## Slide 14: TOP MANAGEMENT MAINTANS OWNERSHIP OF THE PROCEDURE
22. The applicable statutory and regulatory requirements are reviewed and recorded in the management review meeting minutes.
23. The Organization maintains, and controls documented information to support the operation of processes and retains documented information needed to provide confidence and evidence that the processes are being carried out as planned
24. The documented information collectively describes the QMS where a pyramid-shape documentation structure provides for:
• Tier I - Manual
• Tier II - Procedures
• Tier III - Work Instructions
• Tier IV - Quality Records/attachments
25. The procedure for documented information is established to control documentation and to retain records.
26. As related to organizational context, documented information is maintained for:
• Description of interested parties
• Scope of the QMS
• Description of the QMS processes
• Interaction of the QMS processes
• Assignment of responsibilities and authorities

## Slide 16: TOP MANAGEMENT FLOOWS THE INFORMATION TO THE STAKE HOLDERS
The organization maintains information to all key parties through:
quality objectives, KPIs, management review, And regular meetings with upper management to give current and effective information To all interested parties
KPIs include but are not limited to:
• On Time Delivery
• Escaped Defects
• Customer Satisfaction
• Employee Safety
• Supplier Quality
• Company Growth