Internal Audit Document Number: P-824

Techno-Aide

1.0 Purpose

Revision Number: 1.0

Effective Date: 15-Apr-2021 (GMT+2)

1.1 This procedure describes the process for performing Internal Audits at Techno Aide.

2.0 Responsibilities

2.1 The management representative and lead auditor are responsible for scheduling  and initiating the audits and maintaining the master schedule.

2.2 Top management is responsible for reviewing all corrective actions resulting from  internal audits.

2.3 Management is responsible for selecting an audit coordinator.

2.4 The audit coordinator is responsible for selecting the audit team, communicating  with the auditee to arrange the audit, and preparing the final audit report.

2.5 A management staff person is responsible to attend the opening and closing  meetings.

2.6 The audit coordinator is responsible for initiating corrective actions.

2.7 The audit team is responsible for planning, organizing, performing and reporting  results for the internal audit.

3.0 Definitions

3.1 Audit Team: May be one or more auditors, including the lead auditor. 4.0 Equipment/Software

4.1 No additional equipment or software required.

5.0 Instructions

5.1 The management representative works with management to prepare a master  schedule for internal audits. The schedule includes all areas of the facility and is  based on the status and importance of the area being audited. In QSR 820, the  requirements for quality audit are in 820.22.

5.1.1 The schedule identifies when the audits will take place and what areas  will be audited.

5.1.2 Each area of the facility will be audited a minimum of once per year. 5.1.3 The associated table, Applicable Procedures by Work Area, F-824-003  identifies which procedures of the quality management system apply to

each work area of the facility.

Document State: Effective (Controlled)

CONFIDENTIALPage 1 of 4

Internal Audit Document Number: P-824

Techno-Aide

Revision Number: 1.0

Effective Date: 15-Apr-2021 (GMT+2)

5.1.4 The master schedule is evaluated at management review. It is revised  based on:

a) The results of the audits

b) The number of corrective actions generated

c) System problems identified by corrective actions

d) Other relevant information

5.2 The audit coordinator initiates the internal audit based on the master schedule.

5.2.1 The audit coordinator schedules the audit with the manager of the area to  be audited.

5.2.2 The audit coordinator identifies an audit team and lead auditor by

selecting trained auditors, independent of the area to be audited and

available on the scheduled day or days.

5.2.3 The audit coordinator schedules the opening meeting for the auditors and  representative(s) of the area to be audited.

5.3 The lead auditor documents the scope of the audit on the audit plan. The scope  is based on the area to be audited, and the procedures of the quality system that  apply to that area.

5.3.1 The lead auditor prepares the audit plan. The audit team reviews

appropriate documentation.

5.4 The audit team reviews previous audit reports for the area. All corrective actions  that have been completed from previous audits, that require a follow-up, are  identified on the audit reports.

5.4.1 The lead auditor assigns follow-up on the corrective actions to the

members of the audit team.

5.4.2 The auditors get the appropriate corrective action forms from the

corrective action coordinator.

5.5 The lead auditor leads the opening meeting with the representative(s) of the area  to be audited.

5.6 The audit team performs the audit according to the audit plan and approved  checklists. Auditors document all non-conformances on the checklist, F-824-004.

5.7 Compliance to the quality system requirements and to the ISO 13485 and FDA  QSR (21 CFR 820) standards is determined by observation, interview and record  review using the internal audit checklist as a guide.

5.8 Follow-up on corrective actions is completed. The auditor documents the results  of the corrective action on the corrective action form.

5.8.1 The auditors note on the appropriate audit report if corrective actions  have been effective, or if they will be reissued.

5.8.2 The auditors return the corrective action forms to the corrective action  coordinator.

Document State: Effective (Controlled)

CONFIDENTIALPage 2 of 4

Internal Audit Document Number: P-824

Techno-Aide

Revision Number: 1.0

Effective Date: 15-Apr-2021 (GMT+2)

5.8.3 The corrective action coordinator will handle the corrective actions

according to the Corrective and Preventive Action Procedure.

5.8.4 For QSR 820.22, corrective actions are taken as necessary and include a  re-audit of deficient items.

5.9 Auditors record audit results on the checklists.

5.10 The audit team holds a review meeting to agree on and write up corrective action  requests.

5.11 The audit team holds a closing meeting with the representatives of the area  audited, including a management person with responsibility for the area being  audited.

5.11.1 All nonconformances are explained.

5.11.2 The status of the area audited is summarized.

5.12 The lead auditor prepares a final report including:

5.12.1 A summary of the findings

5.12.2 A table of corrective action requests

5.12.3 A copy of each corrective action request

5.13 The lead auditor puts all audit records into the audit file.

5.14 The records included are:

▪ Internal audit plan

▪ Auditors checklists

▪ Internal audit report, including the table of corrective action requests

6.0 Forms and Records

6.1 F-824-001 Internal Audit Plan

6.2 F-824-002 Internal Audit Report

6.3 F-824-003 Applicable Procedures by Work Area

6.4 F-824-004 Audit Checklist

7.0 Attachments

7.1 None

8.0 Related Documents

8.1 P-852 Corrective & Preventive Action

9.0 References

9.1 None

Document State: Effective (Controlled)

CONFIDENTIALPage 3 of 4

Internal Audit Document Number: P-824

Revision Number: 1.0

Effective Date: 15-Apr-2021 (GMT+2)

This is a representation of an electronic record that was signed electronically and this page is the manifestation of the electronic signatures.

Signatory Table

| Action Name | User Name | Title | Signature Date |
| --- | --- | --- | --- |
| Send for Review (Written By) | Keith Mawdsley |  | 22-Mar-2021 21:13 (GMT+2) |
| Review | Aaron Scalf | Vice President of Operations | 31-Mar-2021 20:24 (GMT+2) |
| Send for Approval | Keith Mawdsley |  | 31-Mar-2021 21:23 (GMT+2) |
| Approve | Aaron Scalf | Vice President of Operations | 09-Apr-2021 22:00 (GMT+2) |
| QA Approval - Skip Training | Keith Mawdsley |  | 15-Apr-2021 15:00 (GMT+2) |

Document State: Effective (Controlled)

CONFIDENTIALPage 4 of 4